1. Wash hands

2. Remove cartridges from pump.

3. Green clamp closed.

4. Disconnect filter  -- Protect both ends

a. “Make a home” with alcohol wipe

b. Place filter in alcohol wipe

c. Pink needle on IV tubing

5. Spike new bag

6. Fill two end ports

7. Clamp them

8. Open green clamp

9. Push air out

10 Unclamp ports

11. Pinch seams

12. Channel air

13. Close green clamp.

14. Tap ports

15. Trap air in top

16. Crease and roll and tape.

17. Unscrew pink needle on filter and connect to IV tubing.

18. Replace cartridge in pump.

19. Prime pump.